## Pages & Routes
No | Route Path | Component | Type | Function | Method | CRUD Type | Test Status | Response Code | Expected Response | Actual Response | Notes
1 | / | page.tsx | PAGE | Root/Landing page | GET | READ | Done | 200 | Page loads successfully
2 | /dashboard | page.tsx | PAGE | Main dashboard view (BMS Panasonic) | GET | READ | Done | 200 | Dashboard renders with BMS data
3 | /auth/login | page.tsx | PAGE | User login interface | GET | READ | Pending | 201 | Login form displayed |  | apakah tidak ada Route Protection atau Protected Routes!
4 | /devices/modbus | page.tsx | PAGE | CRUD: Read/Update/Delete Modbus devices | GET | GET/UPDATE/DELETE/CREATE | Done | 200 | Modbus devices list loaded
5 | /devices/modular | page.tsx | PAGE | CRUD: Read/Configure modular devices | GET | GET/UPDATE/DELETE/CREATE | Done | 200 | Modular devices list loaded
6 | /devices/threshold | page.tsx | PAGE | CRUD: Read/Update battery thresholds | GET | READ | Pending | 201 | Battery threshold settings loaded
7 | /control/manual | page.tsx | PAGE | Manual device control interface | GET | READ | Pending | 201 | Manual control interface loaded
8 | /control/unified | page.tsx | PAGE | Unified control for multiple devices | GET | READ | Pending | 201 | Unified control panel loaded
9 | /control/schedule | page.tsx | PAGE | Scheduled device control with automation | GET | READ | Pending | 201 | Schedule management interface loaded
10 | /network/ip-address | page.tsx | PAGE | CRUD: Get/Update IP configuration | GET | READ/UPDATE | Done | 200 | IP configuration page loaded
11 | /network/mqtt | page.tsx | PAGE | CRUD: Configure MQTT broker settings | GET | READ | Pending | 201 | MQTT configuration page loaded
12 | /network/wifi | page.tsx | PAGE | CRUD: Scan/Connect/Disconnect WiFi | GET | READ/UPDATE | Done | 200 | WiFi management interface loaded
13 | /network/protocol/modbus | page.tsx | PAGE | CRUD: Configure Modbus TCP protocol | GET | READ/UPDATE | Done | 200 | Modbus protocol settings loaded
14 | /network/protocol/snmp | page.tsx | PAGE | CRUD: Configure SNMP settings | GET | READ/UPDATE | Done | 200 | SNMP settings page loaded
15 | /network/vpn | page.tsx | PAGE | VPN overview/management | GET | READ | Done | 200 | VPN overview page loaded
16 | /network/vpn/config | page.tsx | PAGE | VPN configuration (IKEv2/OpenVPN/WireGuard) | GET | READ | Pending | 201 | VPN configuration interface loaded
17 | /payload/static | page.tsx | PAGE | CRUD: Create/Read/Update/Delete static payloads | GET | READ | Pending | 201 | Static payload templates loaded
18 | /payload/discover | page.tsx | PAGE | Read: Device discovery and payload analysis | GET | READ | Pending | 201 | Device discovery interface loaded
19 | /snmp-data-get | page.tsx | PAGE | SNMP GET/SET operations | GET | READ | Pending | 201 | SNMP data operations interface loaded
20 | /settings/node-info | page.tsx | PAGE | Read/Update node configuration | GET | READ | Pending | 201 | Node info settings page loaded

## MQTT Endpoints
No | Endpoint Category | Operation | Publish Topic | Subscribe Topic | CRUD Type | Payload | Expected Response | Test Status | Actual Response | Response Time (ms) | Notes
1 | Device Management | Get I2C Device Data | command_device_i2c | response_device_i2c | READ | { "command": "getDataI2C" } | { "status": "success", "data": {...} } | ✅ PASS
2 | Device Management | Control I2C Device | control_device_i2c/{pin} | response_device_i2c | UPDATE | { "action": "ON" or "OFF" } | { "status": "success", "result": "ON/OFF" } | ✅ PASS |  |  | Replace {pin} with actual pin number
3 | Device Management | Get Modular MQTT Config | mqtt_config/modular/command | mqtt_config/modular/response | READ | { "command": "get" } | { "broker_address": "", "broker_port": 0, "username": "", "password": "" } | ✅ PASS
4 | Device Management | Update Modular MQTT Config | mqtt_config/modular/command | mqtt_config/modular/response | UPDATE | { "broker_address": "...", "broker_port": 1883, "username": "...", "password": "..." } | { "status": "success", "message": "Config updated" } | ✅ PASS
5 | Device Management | Get Modbus MQTT Config | mqtt_config/modbus/command | mqtt_config/modbus/response | READ | { "command": "get" } | { "broker_address": "", "broker_port": 0, "username": "", "password": "" } | ✅ PASS
6 | Device Management | Update Modbus MQTT Config | mqtt_config/modbus/command | mqtt_config/modbus/response | UPDATE | { "broker_address": "...", "broker_port": 1883, "username": "...", "password": "..." } | { "status": "success", "message": "Config updated" } | ✅ PASS
7 | Device Management | Get Modbus TCP Settings | IOT/Containment/modbustcp/setting/command | IOT/Containment/modbustcp/setting/data | READ | { "command": "read" } | { "status": "success", "data": { "ip_address": "", "port": 502 } } | ✅ PASS
8 | Device Management | Update Modbus TCP Settings | IOT/Containment/modbustcp/setting/command | IOT/Containment/modbustcp/setting/data | UPDATE | { "command": "write", "ip_address": "...", "port": 502 } | { "status": "success", "message": "Settings updated" } | ✅ PASS
9 | Device Management | Get MAC Address | mqtt_config/get_mac_address | mqtt_config/response_mac | READ | {} | { "status": "success", "data": { "mac": "..." } } | ✅ PASS | 200 | 201.11 | 2025-11-25 19:48:34
10 | Network Configuration | Scan WiFi Networks | rpi/wifi/scan | rpi/wifi/scan_response | READ | {} | { "status": "success", "networks": [...] } | ✅ PASS
11 | Network Configuration | Connect WiFi | rpi/wifi/connect | rpi/wifi/connect_response | CREATE | { "ssid": "...", "password": "..." } | { "status": "success", "message": "Connected" } | ✅ PASS
12 | Network Configuration | Disconnect WiFi | rpi/wifi/disconnect | rpi/wifi/disconnect_response | UPDATE | {} | { "status": "success", "message": "Disconnected" } | ✅ PASS
13 | Network Configuration | Delete WiFi Network | rpi/wifi/delete | rpi/wifi/delete_response | DELETE | { "ssid": "..." } | { "status": "success", "message": "Deleted" } | ✅ PASS
14 | Network Configuration | Get WiFi Status | rpi/wifi/status/get | rpi/wifi/status/response | READ | {} | { "status": "success", "connected": true, "ssid": "..." } | ✅ PASS | 200 | 302.1 | 2025-11-25 19:48:34
15 | Network Configuration | Get IP Address Configuration | rpi/network/get | rpi/network/response | READ | {} | { "status": "success", "ip_address": "...", "gateway": "...", "subnet": "...", "dns1": "...", "dns2": "..." } | ✅ PASS
16 | Network Configuration | Update IP Address Configuration | rpi/network/update | rpi/network/response | UPDATE | { "ip_address": "...", "gateway": "...", "subnet": "...", "dns1": "...", "dns2": "..." } | { "status": "success", "message": "Configuration updated" } | ✅ PASS
17 | Network Configuration | Sync IP Address | rpi/network/sync_ip | rpi/network/sync_ip_response | UPDATE | {} | { "status": "success", "message": "Synced" } | ✅ PASS
18 | Protocol Configuration | Get SNMP Settings | snmp/setting/command | snmp/setting/data | READ | { "command": "read" } | { "status": "success", "data": { "ip": "...", "community": "...", "version": "...", "port": 161 } } | ✅ PASS
19 | Protocol Configuration | Update SNMP Settings | snmp/setting/command | snmp/setting/data | UPDATE | { "command": "write", "ip": "...", "community": "...", "version": "v2c", "port": 161 } | { "status": "success", "message": "Settings updated" } | ✅ PASS
20 | Protocol Configuration | SNMP GET/SET Operation | snmp/data/command | snmp/data/response | READ/UPDATE | { "operation": "GET", "host": "...", "community": "...", "oid": "...", "version": "v2c" } |  | ✅ PASS | 201.74 | 2025-11-25 19:53:05 | For SET operation, add "value" and "type" fields

## Status Codes
Status Code | Status | Description | Meaning | Example Scenario
200 | OK | Request successful, data returned | Test Passed | GET request for device list successful
201 | Created | Resource created successfully | Create operation successful | WiFi network created/connected
204 | No Content | Request successful, no content returned | Update/Delete successful | DELETE WiFi network successful
400 | Bad Request | Invalid request parameters | Test Failed - Invalid Input | Missing required payload fields
401 | Unauthorized | Authentication required | Test Failed - Auth Error | User not logged in
403 | Forbidden | User lacks permission | Test Failed - Permission Error | User cannot modify device
404 | Not Found | Resource not found | Test Failed - Not Found | Device with given ID not found
500 | Server Error | Internal server error | Test Failed - Server Error | Unexpected error on backend
503 | Service Unavailable | Service temporarily unavailable | Test Failed - Service Down | MQTT broker not responding